## standalone
parameter | name (if diff) | unit | expected | low | high | distribution | references
tau |  | days | 0.010417 |  |  | constant | CIDI
COD_removal |  | fraction of COD removal | 0.47 | 0.3525 | 0.5875 | uniform | Tchobanoglous et al,. 2014 (EAWAG: 80-85fraction of BOD removal)
MCF_decay |  | fraction of anaerobic conversion of degraded COD | 1 |  |  | constant | IPCC, 2006
N_max_decay |  | fraction of N removal | 1 |  |  | constant | Report
N2O_EF_decay |  | fraction of of degraded N emitted as N2O | 0.005 | 0.0005 | 0.006 | triangular | IPCC, 2006; Leeds
ECR_reactor_cost |  | USD | 615 | 461.25 | 768.75 | triangular | Eco-san BOM
electrode_cost |  | USD | 2616 | 2354.4 | 2877.6 | triangular
level_guage_cost | six guages | USD | 40 | 36 | 44 | triangular
power_supply_cost |  | USD | 2154 | 1938.6 | 2369.4 | triangular
pump_cost |  | USD | 109 | 98.1 | 119.9 | triangular
fan_cost |  | USD | 140 | 126 | 167.7 | triangular | BOM
UPVC_pipe_cost |  | USD | 250 | 225 | 275 | triangular | BOM
UPVC_electric_ball_cost |  | USD | 150 | 135 | 165 | constant | BOM
salt_dosing_device_cost |  | USD | 650 | 585 | 715 | triangular | BOM
plastic_spraying_cabinent_cost |  | USD | 308 | 277.2 | 338.8 | triangular | BOM
GAC_cost |  | USD | 67.5 | 60.75 | 74.25 | uniform
level_guage_life |  | times/year | 4 | 3.6 | 4.4 | triangular
electrode_life |  | times/year | 0.7 | 0.63 | 0.77 | triangular | Eco-san data
pump_life |  | times/year | 0.75 | 0.675 | 0.825 | triangular
cartridge_life | replacement of filter cartidge | times/year | 18 | 12 | 24 | uniform
salt_dosing_pump_life | re | times/year | 0.1 | 0.09 | 0.11 | triangular
GAC_filter_life | Activated carbon filter shell | times/year | 4.5 | 3 | 6 | uniform
HCl_life |  | times/year | 4 | 3 | 5 | uniform
FRP |  | kg | 2156 | 1617 | 2695 | triangular | fiber-reinforced plastic?
electrode | Ru/Ir/Ti | kg | 3.4 | 2.3 | 4.5 | uniform
salt_dosing |  | kg/week | 6 | 5.4 | 6.6 | triangular
OM |  | days/year | 18 | 12 | 24 | uniform
operator_wages |  | USD/day | 29 | 5.37 | 52.59 | triangular
power_demand |  | kW | 1.086 | 0.9774 | 1.1946 | triangular
electrode_replacement_cost |  | USD | 1250 | 1125 | 1375 | triangular
level_guage_replacement_cost |  | USD | 10 | 9 | 11 | triangular | Eco
salt_replacement_cost |  | USD | 10 | 9 | 11 | triangular
HCl_replacement_cost |  | USD | 12.5 | 11.25 | 13.75 | triangular
pump |  | each | 1 |  |  | constant
HCl_dosing |  | mL | 2000 | 1500 | 2500 | uniform
working_time |  | hr/day | 0.34896 | 0.19792 | 0.5 | uniform

## after_MBR
parameter | name (if diff) | unit | expected | low | high | distribution | references
tau |  | days | 0.010417 |  |  | constant | CIDI
COD_removal |  | fraction of COD removal | 0.47 | 0.3525 | 0.5875 | uniform | Tchobanoglous et al,. 2014 (EAWAG: 80-85fraction of BOD removal)
MCF_decay |  | fraction of anaerobic conversion of degraded COD | 1 |  |  | constant | IPCC, 2006
N_max_decay |  | fraction of N removal | 1 |  |  | constant | Report
N2O_EF_decay |  | fraction of of degraded N emitted as N2O | 0.005 | 0.0005 | 0.006 | triangular | IPCC, 2006; Leeds
ECR_reactor_cost |  | USD | 615 | 461.25 | 768.75 | triangular | Eco-san BOM
electrode_cost |  | USD | 90 | 81 | 99 | triangular | diff from ECR
level_guage_cost | six guages | USD | 40 | 36 | 44 | triangular
power_supply_cost |  | USD | 538.5 | 484.65 | 592.35 | triangular | diff from ECR
pump_cost |  | USD | 46.7 | 42.03 | 51.37 | triangular | diff from ECR
fan_cost |  | USD | 140 | 126 | 167.7 | triangular | BOM
UPVC_pipe_cost |  | USD | 250 | 225 | 275 | triangular | BOM
UPVC_electric_ball_cost |  | USD | 150 | 135 | 165 | constant | BOM
salt_dosing_device_cost |  | USD | 650 | 585 | 715 | triangular | BOM
plastic_spraying_cabinent_cost |  | USD | 308 | 277.2 | 338.8 | triangular | BOM
GAC_cost |  | USD | 67.5 | 60.75 | 74.25 | uniform
level_guage_life |  | times/year | 4 | 3.6 | 4.4 | triangular
electrode_life | [6 empty] | diff from ECR (not applicable)
pump_life |  | times/year | 0.41667 | 0.33333 | 0.5 | triangular | diff from ECR
cartridge_life | replacement of filter cartidge | times/year | 18 | 12 | 24 | uniform
salt_dosing_pump_life | re | times/year | 0.1 | 0.09 | 0.11 | triangular
GAC_filter_life | Activated carbon filter shell | times/year | 4.5 | 3 | 6 | uniform
HCl_life |  | times/year | 4 | 3 | 5 | uniform
FRP |  | kg | 718.6667 | 646.8 | 790.5333 | triangular | diff from ECR
electrode | Ru/Ir/Ti | kg | 3.4 | 2.3 | 4.5 | uniform
salt_dosing |  | kg/week | 6 | 5.4 | 6.6 | triangular
OM |  | days/year | 18 | 12 | 24 | uniform
operator_wages |  | USD/day | 29 | 5.37 | 52.59 | triangular
power_demand |  | kW | 0.543 | 0.40725 | 0.67875 | triangular | diff from ECR
electrode_replacement_cost |  | USD | 450 | 337.5 | 562.5 | constant | diff from ECR
level_guage_replacement_cost |  | USD | 10 | 9 | 11 | triangular | Eco
salt_replacement_cost |  | USD | 10 | 9 | 11 | triangular
HCl_replacement_cost |  | USD | 12.5 | 11.25 | 13.75 | triangular
pump |  | each | 1 |  |  | constant
HCl_dosing | [6 empty] | diff from ECR (not applicable)
working_time |  | hr/day | 0.34896 | 0.19792 | 0.5 | uniform