## Slide 1
Dylan Bespalko, Brice Ivira July 2018
Realtime Frequency Sweep

## Slide 2: Outline
Background
Theory
  Double Sideband (FUND_DSB)
  Single Sideband (FUND_SSB)
  Discrete Fourier Transform (FUND_DFT)
Narrowband Signals for CW and Pulsed (#samples = 101)
Wideband Signals for CW and Pulsed (#samples = 2^16)
Bit Encoding of Digital Signals.
Wideband Signals for Modulated (Q (t)= 0)(#samples = 2^16)
Wideband Signals for Modulated (Q (t)!= 0)(#samples = 2^16)
Conclusions
Next Steps

## Slide 3: Backround
Every modulator/demodulator in a super-heterodyne radio consists of 3 signals:
  Local oscillator (LO).
  In-Phase (I)
  Quadrature (Q)
A Network Analyzer performs steady-state analysis (and unit step response transient analysis) by sweeping the LO while I=1, and Q=0
A Signal Analyzer performs transient analysis by sweeping I and Q. The LO can be swept for scalar measurements (Spectrum Analyzer mode).
The ability to independently control the LO, I, and Q is a phase-coherent manor would be highly desirable in the measurement community.
  If this were the case, there would be no difference between a Network Analyzer and a Signal Analyzer architecture.
A real-time frequency sweep locks the LO and generates a narrowband frequency sweep with the IQ waveform, avoiding the need for swept LO.

## Slide 4: Theory

## Slide 5: Narrowband Signals for CW and Pulsed (#fund = 11, #samples = 101)
FUND_DSB
FUND_SSB
FUND_DFT

## Slide 6: Wideband Signals for CW and Pulsed (#fund = 100, #samples = 2**16)
FUND_DSB
FUND_SSB
FUND_DFT

## Slide 7: Bit Encoding of Digital Signals.
FUND_SSB w/ Filter
FUND_DFT w/o Filter
The realtime frequency sweep is performed using a digital filter to synthesis the entire IQ waveform before it is uploaded.
A sampled waveform cannot exceed the BW of the 1/t_step.
There is an additional digital filter roll-off that can be compensated for CW signals.

## Slide 8: Bit Encoding of Digital Signals.
Basic sampling is done using Non-Return-to-Zero (NRZ) line coding.
You could combine NRZ with Bi-Phase to sweep both the 1st and 2nd Nyquist region.

## Slide 9: Wideband Signals w/o Sample Filter (Q (t)= 0)(#fund = 11, #samples = 2**16)
FUND_LO
FUND_SSB
FUND_DFT

## Slide 10: Wideband Signals w/ Sample Filter (Q (t)= 0)(#fund = 11, #samples = 2**16)
FUND_LO
FUND_SSB
FUND_DFT
Power Increases with BW
Power Increases with BW

## Slide 11: Explanation
FUND_SSB w/ Filter
FUND_DFT w/o Filter
The literature only shows the magnitude response, |H(f)| of the sampling filter.
For modulated signals |H(f)| is not sufficient, you also need to know ∠H(f)
TODO: Derive the phase response of the digital filter.
Power Increases with BW
Power Increases with BW

## Slide 12: Wideband Signals for Modulated (Q (t)!= 0)(#fund = 11, #samples = 2**16)
FUND_LO
FUND_SSB
FUND_DFT
Not Supported
Power Increases with BW

## Slide 13: Conclusions
The following frequency sweeps have been implemented.

## Slide 14: Next Steps
Implement solution with ability to switch off sampling filter for modulated signals.
Need to investigate the phase response of the NRZ sampling filter.
  Create Digital signal (eg. 16-bit QAM)
  Encode the signal using NRZ (or other)
  Calculate the |H(f)| and ∠H(f)
  Export IQ File
  Export Sampling Filter Reponse